## Request Details
Water Supply - System Isolation Instruction | [9 empty] | No.
Lodged by:
[5 empty] | Name |  |  | phone |  |  | Email | Date
Project Name
|  | Ref | [9 empty] | Title
Description
Isolation Description
Isolation Timing / Duration
Preliminary |  | Start |  |  |  |  | Day |  | Date |  |  | Time
|  | Finish |  |  |  |  | Day |  | Date |  |  | Time
Approved (office Use) |  | Start |  |  |  |  | Day |  | Date |  |  | Time
|  | Finish |  |  |  |  | Day |  | Date |  |  | Time
Applicant/s Details:
MA Project Manager |  |  | Person Details
[7 empty] | Name |  | phone |  |  | Email
External Project Manager |  |  | Company Name
Person Details
[7 empty] | Name |  | phone |  |  | Email
Head Contractor |  |  | Company Name
Person Details
[7 empty] | Name |  | phone |  |  | Email
Site Contractor |  |  | Company Name
Person Details
[7 empty] | Name |  | phone |  |  | Email
Other
Operational Effect
General Description
Effected Assets / Properties
Asset Description | [7 empty] | Operational Effect
Water Main Segment
Network Hydrants
Network Hyd. / Hose Reel
Eyewash
Safety Showers
Property Connection | (Domestic Water Supply.)
Fire Fighting Hyd / Hose Reel Supply
Fire Fighting Sprinkler Supply
Red Tag Permit | [7 empty] | Index No.
Comments:
Comments / Requirements
Other Contacts
WORKS:
AFFECTED SITES:
Decommisssioning / Recommissioning Procedure
ONLY PERSONNEL SPECIFICALLY AUTHORIZED BY MELBOURNE AIRPORT MAY CARRY OUT THE VALVE OPERATIONS DETAILED BELOW.
Asset Decommissioning Procedure
Planned Time |  |  |  | 0:00 |  | 0 | [5 empty] | check
CONTRACTOR TO CONFIRM WORKS TIMING WITH ISOLATION PLUMBER PRIOR TO ISOLATION
| NOTE ACTUAL |  |  | Time - |  |  | Date -
1 | CONTACT: |  |  | Requesting Officer (above) prior to procedure initiation
2 | CLOSE: |  |  | Valve
3 | CLOSE: |  |  | Valve
4 | CLOSE: |  |  | Valve
2 | CLOSE: |  |  | Valve
5 | OPEN |  |  | Hydrant
6 | NOTE: |  |  | Time - |  |  | Date -
7 | CONTACT: |  |  | Requesting Officer to inform of Isolation
Actioned |  | Name |  |  |  |  | Signed |  |  | Date
Site Handover (Contractor accepts isolated site)
Contractor's Acceptance |  | Name |  |  |  |  | Signed |  |  | Date
Works Completion (Contractor warrants works complete and safe for Supply Reinstatement.)
Contractor's Acceptance |  | Name |  |  |  |  | Signed |  |  | Date
Asset Recommissioning Procedure
Planned Time |  |  |  | 0:00 |  | 0 | [5 empty] | check
On notification from Head Contractor of completion of works
| NOTE ACTUAL: |  |  | Time - |  |  | Date -
NOTE
1 | CONTACT: |  |  | Requesting Officer (above) prior to procedure initiation
4 | CLOSE: |  |  | New Valve
2 | SLOWLY OPEN: |  |  | Valve
2 | SLOWLY OPEN: |  |  | Valve
4 | FLUSH: |  |  | Hydrant
5 | OPEN: |  |  | Valve
5 | OPEN: |  |  | Valve
6 | NOTE: |  |  | Time - |  |  | Date -
7 | CONTACT: |  |  | Requesting Officer to inform of Ring Segment Re-Commissioning
8 | CONTACT: |  |  | Head Contractor to inform of Ring Segment Re-Commissioning
9 | CONTACT: |  |  | Fire Systems Co-ordinator to inform of Impairment Cancellation
Actioned |  | Name |  |  |  |  | Signed |  |  | Date
Contingency
Event: | [5 empty] | Action Required
Comments
Drawing Nos
On Completion of the form forward to melairCHvalveisolation@programmed.com.au for plumber details
and APAM approval, on receipt of approval attach Application to Fire Impairment & Hot Works Application (if applicable)
APAM Approved Isolation Plumber Details:
Plumber |  |  | Company Name
Person Details
[7 empty] | Name |  | phone |  |  | Email
APAM Manager Details:
Civil Works |  |  | APAM Manager
Person Details
[6 empty] | Signature |  |  | phone |  |  | Email

## Plan 1
Isolated Main Segments
MELBOURNE AIRPORT
WATER SUPPLY
SYSTEM ISOLATION INSTRUCTION 140224.1
PLAN #1
Isolation of
RAI (Airside Ring Main) Between T3F and T3E
WORK SITE
Network Supply Mains
Network Reticulation Mains Segments
Airport Supply Points

## Sheet2
RAI
V308
WP72
V310
V308
V309
W0075
V583
V310
V307
V306
V305
V259
V273
CAUTION
Abandoned line isolation
DO NOT OPEN
V582
V309
WP72
V303
V304
RL1
RL1
REC
WP66
WP12
H139
H195
S207
H146
H145
V553
V551
V552
H147
Building Hydrants
V584
B007
V454
B008
AIRSIDE ROAD
ECHO CONCOURSE
V076
Water Mains to be Isolated (Above ground)
Water Mains to remain charged (aboveground)
Hydrants, Hose Reels, Eye Washes, Deluge Showers
Valves - Normally Closed (Network, Domestic Fire)
Water Mains to be Isolated (Underground)
Water Mains to remain charged (Underground)
Valves - Normally Open (Network, Domestic Fire)
Valves - to be closed for isolation (Network, Domestic Fire)
H017
Sites, assets, etc effected by Isolation
Building Sprinkler Manifold / Booster
S
Millcocks, Hose Reels, Eye Washes, Deluge Showers
Building Hydrants / Hose Reels, etc
Water Mains to be Isolated (Above ground)
Water Mains to remain charged (aboveground)
Hydrants, Hose Reels, Eye Washes, Deluge Showers
Valves - Normally Closed (Network, Domestic Fire)
Water Mains to be Isolated (Underground)
Water Mains to remain charged (Underground)
Valves - Normally Open (Network, Domestic Fire)
Valves - to be closed for isolation (Network, Domestic Fire)
H017
Sites, assets, etc effected by Isolation
Building Sprinkler Manifold / Booster
S
Millcocks, Hose Reels, Eye Washes, Deluge Showers
Building Hydrants / Hose Reels, etc
V075
V382
V076
V074
WP67
RL2
BF3
RL1
S
V921
V918
V919
V920
V922
V923
V924
V925
MELBOURNE AIRPORT
WATER SUPPLY
SYSTEM ISOLATION INSTRUCTION 140224.1
PLAN #2 (Decommissioning)

## Plan #3
RAI
V308
WP72
V310
V308
V309
W0075
V583
V310
V307
V306
V305
V259
V273
CAUTION
Abandoned line isolation
DO NOT OPEN
V582
V309
WP72
V303
V304
RL1
RL1
REC
WP66
WP12
H139
H195
S207
H146
H145
V553
V551
V552
H147
Building Hydrants
V584
B007
V454
B008
AIRSIDE ROAD
ECHO CONCOURSE
V076
Water Mains to be Isolated (Above ground)
Water Mains to remain charged (aboveground)
Hydrants, Hose Reels, Eye Washes, Deluge Showers
Valves - Normally Closed (Network, Domestic Fire)
Water Mains to be Isolated (Underground)
Water Mains to remain charged (Underground)
Valves - Normally Open (Network, Domestic Fire)
Valves - to be closed for isolation (Network, Domestic Fire)
H017
Sites, assets, etc effected by Isolation
Building Sprinkler Manifold / Booster
S
Millcocks, Hose Reels, Eye Washes, Deluge Showers
Building Hydrants / Hose Reels, etc
Water Mains to be Isolated (Above ground)
Water Mains to remain charged (aboveground)
Hydrants, Hose Reels, Eye Washes, Deluge Showers
Valves - Normally Closed (Network, Domestic Fire)
Water Mains to be Isolated (Underground)
Water Mains to remain charged (Underground)
Valves - Normally Open (Network, Domestic Fire)
Valves - to be closed for isolation (Network, Domestic Fire)
H017
Sites, assets, etc effected by Isolation
Building Sprinkler Manifold / Booster
S
Millcocks, Hose Reels, Eye Washes, Deluge Showers
Building Hydrants / Hose Reels, etc
V075
V382
V076
V074
WP67
RL2
BF3
RL1
S
V921
V918
V919
V920
V922
V923
V924
V925
MELBOURNE AIRPORT
WATER SUPPLY
SYSTEM ISOLATION INSTRUCTION 140224.1
PLAN #3 (Recommissioning)